## MFM Nominal Voltages
mfm_id | mfm_name | logger_table | nominal_voltage_ll_v | nominal_voltage_ln_v
1000102 | I/C_33KV_MAIN_VCB | gic_01_n4_I_C_33KV_MAIN_VCB | 33000 | 19052.6
1000103 | OG_33_415kV_TF_1 | gic_01_n1_33_415V_TF_1 | 33000 | 19052.6
1000104 | OG_33_415kV_TF_2 | gic_01_n2_33_415V_TF_2 | 33000 | 19052.6
1000105 | OG_33_415kV_TF_3 | gic_01_n3_33_415V_TF_3 | 33000 | 19052.6
1000106 | TRANFORMER_01_INCOMER | gic_04_n1_TRANFORMER_01_INCOMER | 415 | 239.6
1000107 | DIESEL_GENSET_1_INCOMER | gic_04_n2_DIESEL_GENSET_1_INCOMER | 415 | 239.6
1000108 | O/G_MODULE_PCC_PANEL_1 | gic_04_n3_O_G_MODULE_PCC_PANEL_1 | 415 | 239.6
1000109 | O/G_APFC_PANEL_01 | gic_04_n4_O_G_APFC_PANEL_01 | 415 | 239.6
1000110 | TRANSFORM_2_INCOMER | gic_04_n5_TRANSFORM_2_INCOMER | 415 | 239.6
1000111 | DIESEL_GENSET_2_INCOMER | gic_04_n6_DIESEL_GENSET_2_INCOMER | 415 | 239.6
1000112 | O/G_APFC_PANEL_02 | gic_04_n7_O_G_APFC_PANEL_02 | 415 | 239.6
1000113 | O/G_MODULE_PCC_PANEL_2 | gic_04_n8_O_G_MODULE_PCC_PANEL_2 | 415 | 239.6
1000114 | TRANSFORMER_3_INCOMER | gic_02_n1_TF_3_INCOMER | 415 | 239.6
1000115 | DIESEL_GENSET_3_INCOMER | gic_02_n2_DG_3_INCOMER | 415 | 239.6
1000116 | O/G_MODULE_PCC_PANEL_3 | gic_02_n3_O_G_MODULE_PCC_PANEL_3 | 415 | 239.6
1000117 | O/G_APFCR_PANEL_3 | gic_02_n4_O_G_APFCR_PANEL_3 | 415 | 239.6
1000118 | INCOMER_FROM_AMF_1 | gic_05_n1_INCOMER_FROM_AMF_1 | 415 | 239.6
1000119 | SOLAR_INCOMER_PCC_1 | gic_05_n5_SOLAR_INCOMER_PCC_1 | 415 | 239.6
1000120 | AIR_COMPRESSOR_PDB | gic_05_n2_PCC_1_AIR_COMPRESSOR_PDB | 415 | 239.6
1000121 | UTILITY_PANEL_1 | gic_05_n3_UTILITY_PANEL_1 | 415 | 239.6
1000122 | CT,CDWP,CWP_PANEL | gic_05_n4_CT_CDWP_CWP_PANEL | 415 | 239.6
1000123 | INCOMER_FROM_AMF_2 | gic_05_n6_INCOMER_FROM_AMF_2 | 415 | 239.6
1000124 | SOLAR_INCOMER_PCC_2 | gic_05_n7_SOLAR_INCOMER_PCC_2 | 415 | 239.6
1000125 | LAMINATOR_PDB_01 | gic_05_n8_LAMINATOR_PDB_01 | 415 | 239.6
1000126 | LAMINATOR_PDB_02 | gic_05_n9_LAMINATOR_PDB_02 | 415 | 239.6
1000127 | OUT_GOING_UPS_1A | gic_05_n10_OUT_GOING_UPS_1A | 415 | 239.6
1000128 | OUT_GOING_UPS_1B | gic_05_n11_OUT_GOING_UPS_1B | 415 | 239.6
1000129 | OUT_GOING_UPS_1C | gic_06_n1_OUT_GOING_UPS_1C | 415 | 239.6
1000130 | OUT_GOING_UPS_1D | gic_06_n2_OUT_GOING_UPS_1D | 415 | 239.6
1000131 | OUT_GOING_UPS_1E | gic_06_n3_OUT_GOING_UPS_1E | 415 | 239.6
1000132 | HARMONIC_PANEL | gic_06_n4_HARMONIC_PANEL | 415 | 239.6
1000133 | O/G_CHILLER_FROM_PDB_PCC_3_LDB | gic_06_n5_O_G_CHILLER_FROM_PDB_PCC_3_LDB | 415 | 239.6
1000134 | O/G_PDB_2_FG_SHED | gic_06_n6_O_G_PDB_2_FG_SHED | 415 | 239.6
1000135 | O/G_LDB_LT_ROOM | gic_06_n7_O_G_LDB_LT_ROOM_ | 415 | 239.6
1000136 | OUT_GOING_SPARE | gic_06_n8_OUT_GOING_SPARE | 415 | 239.6
1000137 | PCW_PANEL_CHILLER_ROOM | gic_06_n9_PCW_PANEL_CHILLER_ROOM | 415 | 239.6
1000138 | PCC_03_INCOMER | gic_02_n6_PCC_03_INCOMER | 415 | 239.6
1000139 | SOLAR_INCOMER_PCC_3 | gic_02_n7_SOLAR_INCOMER_PCC_3 | 415 | 239.6
1000140 | LAMINATOR_PDB_3 | gic_02_n8_LAMINATOR_PDB_3 | 415 | 239.6
1000141 | AIR_COMPRESSOR_PDB | gic_03_n1_AIR_COMPRESSOR_PDB | 415 | 239.6
1000142 | UPS_2A | gic_03_n2_UPS_2A | 415 | 239.6
1000143 | PCW_PUMPS | gic_03_n3_PCW_PUMPS | 415 | 239.6
1000144 | ADMIN_BUILDING | gic_03_n4_ADMIN_BUILDING | 415 | 239.6
1000145 | STP,FHS&_PUMPS | gic_03_n5_STP_FHS__PUMPS | 415 | 239.6
1000146 | BOPT | gic_03_n6_BOPT | 415 | 239.6
1000147 | SPARE | gic_03_n7_SPARE | 415 | 239.6
1000148 | SPARE_2 | gic_03_n8_SPARE_2 | 415 | 239.6
1000204 | UPS-A | gic_09_n1_I_C_UPS_A | 415 | 239.6
1000205 | UPS-B | gic_09_n2_I_C_UPS_B | 415 | 239.6
1000206 | UPS-C | gic_09_n3_I_C_UPS_C | 415 | 239.6
1000207 | UPS-D | gic_09_n4_I_C_UPS_D | 415 | 239.6
1000208 | O/G_MANUAL_LINE | gic_09_n5_O_G_MANUAL_LINE | 415 | 239.6
1000209 | O/G_PRE_LAMINATOR_PANEL_1 | gic_09_n6_O_G_PRE_LAMINATOR_PANEL_1 | 415 | 239.6
1000210 | O/G_PRE_LAMINATOR_PANEL_2 | gic_09_n7_O_G_PRE_LAMINATOR_PANEL_2 | 415 | 239.6
1000211 | O/G_U_LAMINATOR_PANEL1 | gic_09_n8_O_G_U_LAMINATOR_PANEL1 | 415 | 239.6
1000212 | O/G_POST_LAMINATOR_PDB_01 | gic_09_n9_O_G_POST_LAMINATOR_PDB_01 | 415 | 239.6
1000213 | O/G_180_FLIPER_&_HITPOT | gic_09_n10_O_G_180_FLIPER___HITPOT | 415 | 239.6
1000214 | O/G_POST_LAMINATOR_PDB_02 | gic_09_n11_O_G_POST_LAMINATOR_PDB_02 | 415 | 239.6
1000215 | O/G_U_LAMINATOR_PDB_02 | gic_09_n12_O_G_U_LAMINATOR_PDB_02 | 415 | 239.6
1000216 | O/G_UPS_LIGHTING_DB | gic_09_n13_O_G_UPS_LIGHTING_DB | 415 | 239.6
1000217 | I/C_PCC_1 | gic_10_n3_I_C_PCC_1 | 415 | 239.6
1000218 | SOLAR_INCOMING_UTILITY_PANEL | gic_10_n4_SOLAR_INCOMING_UTILITY_PANEL | 415 | 239.6
1000219 | O/G_AHU_09 | gic_10_n5_O_G_AHU_09 | 415 | 239.6
1000220 | O/G_AHU_PDB_01 | gic_10_n6_O_G_AHU_PDB_01 | 415 | 239.6
1000221 | O/G_AHU_PDB_02 | gic_10_n7_O_G_AHU_PDB_02 | 415 | 239.6
1000222 | O/G_AHU_PDB_03 | gic_10_n8_O_G_AHU_PDB_03 | 415 | 239.6
1000223 | O/G_AHU_PDB_05 | gic_10_n9_O_G_AHU_PDB_05 | 415 | 239.6
1000224 | O/G_AIR_WASHER_PDB_3 | gic_10_n10_O_G_AIR_WASHER_PDB_3 | 415 | 239.6
1000225 | O/G_AHU_PDB_04 | gic_10_n11_O_G_AHU_PDB_04 | 415 | 239.6
1000226 | O/G_AHU_PDB_06 | gic_10_n12_O_G_AHU_PDB_06 | 415 | 239.6
1000227 | O/G_AHU_PDB_07 | gic_10_n13_O_G_AHU_PDB_07 | 415 | 239.6
1000228 | O/G_AHU_PDB_08 | gic_10_n14_O_G_AHU_PDB_08 | 415 | 239.6
1000229 | O/G_AIR_WASHER_PDB_2 | gic_11_n1_O_G_AIR_WASHER_PDB_2 | 415 | 239.6
1000230 | O/G_AIR_WASHER_01 | gic_11_n2_O_G_AIR_WASHER_01 | 415 | 239.6
1000231 | O/G_AIR_EXUAST_3 | gic_11_n3_O_G_AIR_EXUAST_3 | 415 | 239.6
1000232 | O/G_EXHAUST_UNIT_PDB_01 | gic_11_n4_O_G_EXHAUST_UNIT_PDB_01 | 415 | 239.6
1000233 | O/G_EXHAUST_UNIT_PDB_02 | gic_11_n5_0_G_EXHAUST_UNIT_PDB_02 | 415 | 239.6
1000234 | O/G_AIR_WASHER_03 | gic_11_n6_O_G_AIR_WASHER_03 | 415 | 239.6
1000235 | O/G_AXIAL_FLOW_FAN_PDB_03 | gic_11_n7_O_G_AXIAL_FLOW_FAN_PDB_03 | 415 | 239.6
1000236 | O/G_AXIAL_FLOW_FAN_PDB_01 | gic_11_n8_O_G_AXIAL_FLOW_FAN_PDB_01 | 415 | 239.6
1000237 | O/G_AXIAL_FLOW_FAN_PDB_02 | gic_11_n9_O_G_AXIAL_FLOW_FAN_PDB_02 | 415 | 239.6
1000238 | O/G_PRE_LAMINATOR_PDB_AND_LDB | gic_11_n10_O_G_PRE_LAINATOR_PDB_AND_LDB | 415 | 239.6
1000239 | O/G_ALL_CSU | gic_11_n11_O_G_ALL_CSU | 415 | 239.6
1000240 | O/G_LINE_3_AIR_WASHER_PDB | gic_11_n12_O_G_LINE_3_AIR_WASHER_PDB | 415 | 239.6
1000241 | LIGHTNING_DB_3 | gic_05_n12_LIGHTNING_DB_3 | 415 | 239.6
1000242 | I/C_PCC_2_LAMINATOR_PDB | gic_08_n3_I_C_PCC_2_LAMINATOR_PDB | 415 | 239.6
1000243 | SOLAR_LAMINATOR_PDB_01 | gic_08_n4_SOLAR_LAMINATOR_PDB_01 | 415 | 239.6
1000244 | I/C_PCC_2_LAMINATOR_PDB_2 | gic_08_n2_I_C_PCC_2_LAMINATOR_PDB_2 | 415 | 239.6
1000245 | SOLAR_U_LAMINATOR_PDB_2 | gic_08_n6_SOLAR_U_LAMINATOR_PDB_2 | 415 | 239.6
1000246 | I/C_PCC_3_LAMINATOR_PDB_3 | gic_08_n7_I_C_PCC_3_LAMINATOR_PDB_3 | 415 | 239.6
1000247 | SOLAR_LAMINATOR_PDB_3 | gic_08_n8_SOLAR_LAMINATOR_PDB_3 | 415 | 239.6
1000248 | I/C_UPS_PANEL_U_LAMINATOR | gic_08_n1_I_C_UPS_PANEL_U_LAMINATOR | 415 | 239.6
1000249 | I/C_UPS_PANEL_U_LAMINATOR_PDB_2 | gic_08_n5_I_C_UPS_PANEL_U_LAMINATOR_PDB_2 | 415 | 239.6
1000250 | I/C_UPS_PANEL_PRE_LAMINATOR_1 | gic_10_n1_I_C_UPS_PANEL_PRE_LAMINATOR_1 | 415 | 239.6
1000251 | INCOMER_PRE LAMINATOR_PANEL_1 | gic_10_n2_INCOMER_PRE_LAMINATOR_PANEL_1 | 415 | 239.6
1000252 | I/C_UPS_PANEL_PRE_LAMINATOR_2 | gic_08_n9_I_C_UPS_PANEL_PRE_LAMINATOR_2 | 415 | 239.6
1000253 | I/C_PRE_LAMINATOR_PANEL_2 | gic_08_n10_I_C_PRE_LAMINATOR_PANEL_2 | 415 | 239.6
1000254 | I/C_POST_LAMINATOR_PANEL_2 | gic_08_n11_I_C_POST_LAMINATOR_PANEL_2 | 415 | 239.6
1000255 | I/C_PCC_2_LAMINATOR_PDB_01 | gic_07_n1_I_C_PCC_2_LAMINATOR_PDB_01 | 415 | 239.6
1000256 | I/C_SOLAR_AIR_COMPRESSOR_PDB-1 | gic_07_n2_I_C_SOLAR_AIR_COMPRESSOR_PDB_1 | 415 | 239.6
1000257 | INCOMER_LAMINATOR_PDB_02 | gic_07_n3_INCOMER_LAMINATOR_PDB_02 | 415 | 239.6
1000258 | I/C_SOLAR_AIR_COMPRESSOR_PDB-2 | gic_07_n4_I_C_SOLAR_AIR_COMPRESSOR_PDB_2 | 415 | 239.6