## Instructions
EMS import template
One upload builds the EMS tree. The eight categories are fixed; this file fills them.
Meters sheet (required) — one row per meter per place it appears
• No Distribution panel → the MFM shows directly under its Nav category. Leave Role blank.
• With a Distribution panel → the panel shows under the Nav category and this MFM is its Incomings, Outgoings or Spare. The panel is created the first time its name appears.
• Every row of the same panel must give the same Nav category.
• A meter feeding one panel and Incomings to another = two rows with the same MFM name and Table name, one per panel.
• Row order = display order inside a panel's Incomings / Outgoings / Spares.
• Table name must be a LoggerFast table; it links the device and data source.
Panels sheet (optional) — one row per panel
• Only for panel nameplate values or sort order, or a panel that has no meters yet.
Nameplate columns (green)
• Optional. A blank cell leaves the stored value untouched; it never clears it.
• Voltages are line-to-line in volts: 415, 11000, 33000.
• Any other nameplate field can be added as an extra column headed by its field name (e.g. thd_v_limit_pct).
Uploading — POST /api/import/ (form field "file"), admin login as HTTP Basic auth
• Without commit=true it is a preview: it reports what would be created or updated and every row error, and writes nothing.
• With commit=true it writes — only if there are no errors at all (all or nothing).
• Re-uploading updates in place and never deletes anything. Meters are matched by Table name (or MFM name when there is none); panels by name.
• Values are case-insensitive: "pcc", "PCC Panels" and "PCC" all work; "Incomings"/"IC" and "Outgoings"/"OG" are accepted for Role.
• The Example sheet is ignored by the upload.

## Meters
MFM name | Nav category | Distribution panel | Role | Table name | Nominal voltage (V) | Rated kVA | Rated kW | Rated current (A) | Frequency (Hz) | Contracted kW | schema
MFM-1 | HT | 33KV HT Panel | Incomings | I/C_33KV_MAIN_VCB | 33kV | 71.45MVA | 71.45MW | 1250A | 50HZ |  | sch_EM6400_NG+
MFM-2 | HT | 33KV HT Panel | Outgoings | OG_33_415kV_TF_1 | 33kV | 71.45MVA | 71.45MW | 1250A | 50HZ |  | sch_EM6400_NG+
MFM-3 | HT | 33KV HT Panel | Outgoings | OG_33_415kV_TF_2 | 33kV | 71.45MVA | 71.45MW | 1250A | 50HZ |  | sch_EM6400_NG+
MFM-4 | HT | 33KV HT Panel | Outgoings | OG_33_415kV_TF_3 | 33kV | 71.45MVA | 71.45MW | 1250A | 50HZ |  | sch_EM6400_NG+
MFM-1 | AMF | AMF-1 | Incomings | TRANFORMER_01_INCOMER | 415V | 2875.2KVA | 2875.2KW | 4000V | 50HZ |  | sch_EMMS7_96
MFM-2 | AMF | AMF-1 | Incomings | DIESEL_GENSET_1_INCOMER | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-3 | AMF | AMF-1 | Outgoings | O/G_MODULE_PCC_PANEL_1 | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-4 | AMF | AMF-1 | Outgoings | O/G_APFC_PANEL_01 | 415V | 1437.6KVA | 1437.6KW | 2000A | 50HZ |  | sch_EMMS7_96
MFM-1 | AMF | AMF-2 | Incomings | TRANSFORM_2_INCOMER | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-2 | AMF | AMF-2 | Incomings | DIESEL_GENSET_2_INCOMER | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-3 | AMF | AMF-2 | Outgoings | O/G_APFC_PANEL_02 | 415V | 1437.6KVA | 1437.6KW | 2000A | 50HZ |  | sch_EMMS7_96
MFM-4 | AMF | AMF-2 | Outgoings | O/G_MODULE_PCC_PANEL_2 | 415V | 2875.2KVA | 1437.6KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-1 | AMF | AMF-3 | Incomings | TRANSFORMER_3_INCOMER | 415V | 2875.2KVA | 1437.6KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-2 | AMF | AMF-3 | Incomings | DIESEL_GENSET_3_INCOMER | 415V | 2875.2KVA | 1437.6KW | 4000A | 50HZ |  | sch_EM6400_NG+
MFM-3 | AMF | AMF-3 | Outgoings | O/G_MODULE_PCC_PANEL_3 | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-4 | AMF | AMF-3 | Outgoings | O/G_APFCR_PANEL_3 | 415V | 1437.6KVA | 1437.6KW | 2000A | 50HZ |  | sch_EMMS7_96
MFM-1 | PCC | PCC-1 | Incomings | INCOMER_FROM_AMF_1 | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-2 | PCC | PCC-1 | Incomings | SOLAR_INCOMER_PCC_1 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-3 | PCC | PCC-1 | Outgoings | AIR_COMPRESSOR_PDB | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-4 | PCC | PCC-1 | Outgoings | UTILITY_PANEL_1 | 415V | 1150.08KVA | 1150.08KW | 1600A | 50HZ |  | sch_EMMS7_96
MFM-5 | PCC | PCC-1 | Outgoings | CT,CDWP,CWP_PANEL | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-1 | PCC | PCC-2 | Incomings | INCOMER_FROM_AMF_2 | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-2 | PCC | PCC-2 | Incomings | SOLAR_INCOMER_PCC_2 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-3 | PCC | PCC-2 | Outgoings | LAMINATOR_PDB_01 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-4 | PCC | PCC-2 | Outgoings | LAMINATOR_PDB_02 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-5 | PCC | PCC-2 | Outgoings | OUT_GOING_UPS_1A | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-6 | PCC | PCC-2 | Outgoings | OUT_GOING_UPS_1B | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-7 | PCC | PCC-2 | Outgoings | OUT_GOING_UPS_1C | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-8 | PCC | PCC-2 | Outgoings | OUT_GOING_UPS_1D | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-9 | PCC | PCC-2 | Outgoings | OUT_GOING_UPS_1E | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-10 | PCC | PCC-2 | Outgoings | HARMONIC_PANEL | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-11 | PCC | PCC-2 | Outgoings | O/G_CHILLER_FROM_PDB_PCC_3_LDB | 415V | 89.85KVA | 89.85KW | 125A | 50HZ |  | sch_EMMS7_96
MFM-12 | PCC | PCC-2 | Outgoings | O/G_PDB_2_FG_SHED | 415V | 89.85KVA | 89.85KW | 125A | 50HZ |  | sch_EMMS7_96
MFM-13 | PCC | PCC-2 | Outgoings | O/G_LDB_LT_ROOM | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_EMMS7_96
MFM-14 | PCC | PCC-2 | Outgoings | OUT_GOING_SPARE | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_EMMS7_96
MFM-15 | PCC | PCC-2 | Outgoings | PCW_PANEL_CHILLER_ROOM | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_EMMS7_96
MFM-1 | PCC | PCC-3 | Incomings | PCC_03_INCOMER | 415V | 2875.2KVA | 2875.2KW | 4000A | 50HZ |  | sch_EMMS7_96
MFM-2 | PCC | PCC-3 | Incomings | SOLAR_INCOMER_PCC_3 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-3 | PCC | PCC-3 | Outgoings | LAMINATOR_PDB_3 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-4 | PCC | PCC-3 | Outgoings | AIR_COMPRESSOR_PDB | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-5 | PCC | PCC-3 | Outgoings | UPS_2A | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-6 | PCC | PCC-3 | Outgoings | PCW_PUMPS | 415V | 287.52KVA | 287.52KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-7 | PCC | PCC-3 | Outgoings | ADMIN_BUILDING | 415V | 452.84KVA | 452.84KW | 630A | 50HZ |  | sch_EMMS7_96
MFM-8 | PCC | PCC-3 | Outgoings | STP,FHS&_PUMPS | 415V | 287.52KVA | 287.52KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-9 | PCC | PCC-3 | Outgoings | BOPT | 415V | 287.52KVA | 287.52KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-10 | PCC | PCC-3 | Spare | SPARE | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_EMMS7_96
MFM-11 | PCC | PCC-3 | Spare | SPARE_2 | 415V | 89.85KVA | 89.85KW | 125A | 50HZ |  | sch_EMMS7_96
MFM-1 | UPS | UPS | Incomings | UPS-A | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-2 | UPS | UPS | Incomings | UPS-B | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-3 | UPS | UPS | Incomings | UPS-C | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-4 | UPS | UPS | Incomings | UPS-D | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-5 | UPS | UPS | Outgoings | O/G_MANUAL_LINE | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-6 | UPS | UPS | Outgoings | O/G_PRE_LAMINATOR_PANEL_1 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_LG2599
MFM-7 | UPS | UPS | Outgoings | O/G_PRE_LAMINATOR_PANEL_2 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_LG2599
MFM-8 | UPS | UPS | Outgoings | O/G_U_LAMINATOR_PANEL1 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_LG2599
MFM-9 | UPS | UPS | Outgoings | O/G_POST_LAMINATOR_PDB_01 | 415V | 452.84KVA | 452.84KW | 630A | 50HZ |  | sch_LG2599
MFM-10 | UPS | UPS | Outgoings | O/G_180_FLIPER_&_HITPOT | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_LG2599
MFM-11 | UPS | UPS | Outgoings | O/G_POST_LAMINATOR_PDB_02 | 415V | 452.84KVA | 452.84KW | 630A | 50HZ |  | sch_LG2599
MFM-12 | UPS | UPS | Outgoings | O/G_U_LAMINATOR_PDB_02 | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_LG2599
MFM-13 | UPS | UPS | Outgoings | O/G_UPS_LIGHTING_DB | 415V | 287.52KVA | 287.52KW | 400A | 50HZ |  | sch_LG2599
MFM-1 | UTILITY | Utility Panel | Incomings | I/C_PCC_1 | 415V | 1150.08KVA | 1150.08KW | 1600A | 50HZ |  | sch_LG2599
MFM-2 | UTILITY | Utility Panel | Incomings | SOLAR_INCOMING_UTILITY_PANEL | 415V | 1150.08KVA | 1150.08KW | 1600A | 50HZ |  | sch_LG2599
MFM-3 | UTILITY | Utility Panel | Outgoings | O/G_AHU_09 | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_LG2599
MFM-4 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_01 | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_LG2599
MFM-5 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_02 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-6 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_03 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-7 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_05 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-8 | UTILITY | Utility Panel | Outgoings | O/G_AIR_WASHER_PDB_3 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-9 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_04 | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_LG2599
MFM-10 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_06 | 415V | 179.7KVA | 179.7KW | 250A | 50HZ |  | sch_LG2599
MFM-11 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_07 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-12 | UTILITY | Utility Panel | Outgoings | O/G_AHU_PDB_08 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-13 | UTILITY | Utility Panel | Outgoings | O/G_AIR_WASHER_PDB_2 | 415V | 143.76KVA | 143.76KW | 200A | 50HZ |  | sch_LG2599
MFM-14 | UTILITY | Utility Panel | Outgoings | O/G_AIR_WASHER_01 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-15 | UTILITY | Utility Panel | Outgoings | O/G_AIR_EXUAST_3 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-16 | UTILITY | Utility Panel | Outgoings | O/G_EXHAUST_UNIT_PDB_01 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-17 | UTILITY | Utility Panel | Outgoings | O/G_EXHAUST_UNIT_PDB_02 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-18 | UTILITY | Utility Panel | Outgoings | O/G_AIR_WASHER_03 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-19 | UTILITY | Utility Panel | Outgoings | O/G_AXIAL_FLOW_FAN_PDB_03 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-20 | UTILITY | Utility Panel | Outgoings | O/G_AXIAL_FLOW_FAN_PDB_01 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-21 | UTILITY | Utility Panel | Outgoings | O/G_AXIAL_FLOW_FAN_PDB_02 | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-22 | UTILITY | Utility Panel | Outgoings | O/G_PRE_LAMINATOR_PDB_AND_LDB | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-23 | UTILITY | Utility Panel | Outgoings | O/G_ALL_CSU | 415V | 115.01KVA | 115.01KW | 160A | 50HZ |  | sch_LG2599
MFM-24 | UTILITY | Utility Panel | Outgoings | O/G_LINE_3_AIR_WASHER_PDB | 415V | 287.52KVA | 287.52KW | 125A | 50HZ |  | sch_LG2599
MFM-25 | UTILITY | Utility Panel | Outgoings | LIGHTNING_DB_3 | 415V | 1797KVA | 1797KW | 400A | 50HZ |  | sch_LG2599
MFM-1 | PRODUCTION |  |  | I/C_PCC_2_LAMINATOR_PDB | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-2 | PRODUCTION |  |  | SOLAR_LAMINATOR_PDB_01 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-3 | PRODUCTION |  |  | I/C_PCC_2_LAMINATOR_PDB_2 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-4 | PRODUCTION |  |  | SOLAR_U_LAMINATOR_PDB_2 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-5 | PRODUCTION |  |  | I/C_PCC_3_LAMINATOR_PDB_3 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-6 | PRODUCTION |  |  | SOLAR_LAMINATOR_PDB_3 | 415V | 1797KVA | 1797KW | 2500A | 50HZ |  | sch_EMMS7_96
MFM-7 | PRODUCTION |  |  | I/C_UPS_PANEL_U_LAMINATOR | 415V | 575.04KVA | 575.04KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-8 | PRODUCTION |  |  | I/C_UPS_PANEL_U_LAMINATOR_PDB_2 | 415V | 898.5KVA | 898.5KW | 800A | 50HZ |  | sch_EMMS7_96
MFM-9 | PRODUCTION |  |  | I/C_UPS_PANEL_PRE_LAMINATOR_1 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-10 | PRODUCTION |  |  | INCOMER_PRE LAMINATOR_PANEL_1 | 415V | 1797KVA | 1797KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-11 | PRODUCTION |  |  | I/C_UPS_PANEL_PRE_LAMINATOR_2 | 415V | 287.52KVA | 287.52KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-12 | PRODUCTION |  |  | I/C_PRE_LAMINATOR_PANEL_2 | 415V | 1797KVA | 1797KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-13 | PRODUCTION |  |  | I/C_POST_LAMINATOR_PANEL_2 | 415V | 287.52KVA | 287.52KW | 400A | 50HZ |  | sch_EMMS7_96
MFM-14 | PRODUCTION |  |  | I/C_PCC_2_LAMINATOR_PDB_01 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-15 | PRODUCTION |  |  | I/C_SOLAR_AIR_COMPRESSOR_PDB-1 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-16 | PRODUCTION |  |  | INCOMER_LAMINATOR_PDB_02 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
MFM-17 | PRODUCTION |  |  | I/C_SOLAR_AIR_COMPRESSOR_PDB-2 | 415V | 898.5KVA | 898.5KW | 1250A | 50HZ |  | sch_EMMS7_96
Note on A1: The meter. The same MFM name + Table name on two rows is the same meter (e.g. one panel's outgoer that is another panel's incomer).
Note on B1: HT, AMF, PCC, UPS, APFC, Production, Utility or HVAC. With a Distribution panel it is where the PANEL shows; without one, where this MFM shows.
Note on C1: Blank = this MFM shows directly under the Nav category. A name = the panel (created the first time it appears).
Note on D1: Incomer, Outgoer or Spare. Required with a Distribution panel, blank without.
Note on E1: The LoggerFast table this meter reads; links its LoggerFast device and data source. Blank = no live data yet.
Note on F1: Line-to-line, in volts: 415, 11000, 33000.

## Panels
Panel name | Nav category | Sort order | Nominal voltage (V) | Rated kVA | Rated kW | Rated current (A) | Fault level (kA) | Frequency (Hz) | Contracted kW | Critical load (kW)
Note on A1: Must match the Distribution panel name used on the Meters sheet.
Note on B1: Optional when the Meters sheet already places the panel (it must then match). Required for a panel with no meters yet.
Note on C1: Position inside its category, lower first. Default 0, then by name.
Note on D1: Bus voltage, line-to-line, in volts.

## Example
Ignored by the upload — shows the shape with placeholder names only.
MFM name | Nav category | Distribution panel | Role | Table name | Nominal voltage (V) | Rated kVA | Rated kW | Rated current (A) | Frequency (Hz) | Contracted kW
MFM-01 | PCC | Panel A | Incomings | table_mfm_01 | 415 | 1000 |  |  |  |  | Panel A under PCC Panels: its Incomings
MFM-02 | PCC | Panel A | Outgoings | table_mfm_02 | 415 | [5 empty] | Panel A: an Outgoings …
MFM-03 | PCC | Panel A | Spare | table_mfm_03 | 415 | [5 empty] | Panel A: a spare
MFM-02 | Utility | Panel B | Incomings | table_mfm_02 | 415 | [5 empty] | … and the SAME meter (same table) is Panel B's Incomings
MFM-04 | HVAC |  |  | table_mfm_04 | 415 | [5 empty] | no panel: MFM-04 shows straight under HVAC Panels
Panels sheet:
Panel name | Nav category | Sort order | Nominal voltage (V) | Rated kVA | Rated kW | Rated current (A) | Fault level (kA) | Frequency (Hz) | Contracted kW | Critical load (kW)
Panel A | PCC | 0 | 415 | 1000 |  | 1600 | 50 | 50
Note on A2: The meter. The same MFM name + Table name on two rows is the same meter (e.g. one panel's outgoer that is another panel's incomer).
Note on B2: HT, AMF, PCC, UPS, APFC, Production, Utility or HVAC. With a Distribution panel it is where the PANEL shows; without one, where this MFM shows.
Note on C2: Blank = this MFM shows directly under the Nav category. A name = the panel (created the first time it appears).
Note on D2: Incomer, Outgoer or Spare. Required with a Distribution panel, blank without.
Note on E2: The LoggerFast table this meter reads; links its LoggerFast device and data source. Blank = no live data yet.
Note on F2: Line-to-line, in volts: 415, 11000, 33000.
Note on A10: Must match the Distribution panel name used on the Meters sheet.
Note on B10: Optional when the Meters sheet already places the panel (it must then match). Required for a panel with no meters yet.
Note on C10: Position inside its category, lower first. Default 0, then by name.
Note on D10: Bus voltage, line-to-line, in volts.

## Lists
Nav category | Role
HT | Incomings
AMF | Outgoings
PCC | Spare
UPS
APFC
Production
Utility
HVAC